## Dev. Check List - Page 1
Developer Check List 2014
Client details
Client Name | [5 empty] | Date
Contact | [5 empty] | NBD/BDM
Telephone Number
e-mail
Address
Job Ref. No
Post Code
Site details
Developer Name
Project Name
Number of Dwellings |  |  |  |  | Number of House Types
If The Design Enquiry Is For A Housing Association Please Attach Their Specification.
The target turn around time for designs is 20 working days from the receipt of suitably scaled FINAL working drawings. If any details, drawings and omissions from this Developer Check List that may be required to prepare the designs are not supplied with this request the 20 day period may well be extended. Every effort will be made to comply with any special request for the preparation of a design but it will be subject to the current demand. Please see the Ideal Stelrad Group - Heating Design Service Terms and Conditions.
Please send the drawings in the format indicated below to Design.Enquiries@idealheating.com
revit/gbxml file or individual dxf/dwg files per individual floor plan with essential layers only, Drawings Can Be Sent In pdf Format Though This May Delay The Design Process
Please supply drawings in revit/gbxml file if possible or individual dxf files per floor plan with essential layers only
Final Scaled Drawings Attached |  | Plans |  |  | Elevations |  |  | Sections
Ideal Heating Boiler | Logic Combi ES |  |  | Logic + Combi |  |  | Logic Code Combi ES
| Logic Heat Only |  |  | Logic + Heat Only |  |  | Airtherm
| Logic System |  |  | Logic + System |  |  | Groundtherm
| Vogue Combi |  |  | Vogue System
Other Ideal Boiler
Additional Ideal Boiler Kits
Stelrad Radiators | Elite |  |  | Henrad |  |  |  | L.S.T. Standard
| Compact |  |  | Classic Column |  |  |  | L.S.T. Plus
| Softline |  |  | Planar |  |  |  | Concord
| Stelrad Towel Rails |  | Type
| Other Stelrad Radiators |  | Type
Hot Water Cylinder | Ideal Thermstore |  |  | Other
| Ideal Solar Thermstore |  |  | State which
Radiator Valves | Pegler Ltd.
| Other |  |  | State which
TRV's | Pegler Ltd
| Other |  |  | State which
Controls | Honeywell
| Other |  |  | State which
Pump | Grundfos
| Other |  |  | State which
System Inhibitor | Sentinel
Fernox
| Other |  |  | State which

## Dev. Check List - Page 2
Developer Check List
SYSTEM DESIGN CRITERIA
Unless SAP Calculations are to be included please note that all the 'U' Values will be taken as the MAXIMUM PERMITTED by the current edition of the Building Regulations unless otherwise specified as below (W/m2 deg C) Refurbished Buildings MUST Be Supplied With Accurate "U" Values
| External Wall …………. |  |  | Glazing …………. |  |  |  | Floor …………. |  | Roof ………….
ALL DESIGNS WILL BE PREPARED TO A MINIMUM REQUIREMNTS OF BS EN 12828:2003 UNLESS GREATER IS SPECIFIED
Please indicate outside air design temperature:- BS EN 12828:2003 -1oC NHBC -3oC OR ……..………C
|  | Room |  | Temp oC | Air Change Rate |  |  | Room |  | Temp oC | Air Change Rate
As shown |  | Lounge |  | (21o) | -1.5 |  |  | Utility |  | (18o) | -2
|  | Dining |  | (21o) | -1.5 |  |  | W.C.. |  | (18o) | -2
|  | Study |  | (21o) | -1.5 |  |  | Hall |  | (18o) | -1.5
|  | Family Room |  | (21o) | -1.5 |  |  | Bedrooms |  | (18o) | -1
|  | Breakfast Room |  | (21o) | -1.5 |  |  | Bathrooms |  | (22o) | -2
|  | Kitchen |  | (18o) | -2 |  |  | En Suite |  | (22o) | -2
Are conservatories to be heated? |  |  |  | Yes | No |  |  | Required Temp.
Are the designs to comply with N.H.B.C. 8.1 d9 | [9 empty] | Yes / No
Heating System: |  |  |  | Open | Sealed |  |  | H&C Water Layout |  | Yes / No
|  | Copper pipework | [7 empty] | Yes / No
|  | Plastic pipe |  | Manufacturer:- | [5 empty] | Yes / No
|  | Small bore | [7 empty] | Yes / No
|  | Small bore & Microbore drops | [7 empty] | Yes / No
|  | Microbore & Manifolds | [7 empty] | Yes / No
|  | Drops to Individual Rads | [7 empty] | Yes / No
|  | Single Drop to a Ground Floor Circuit | [7 empty] | Yes / No
Pipework | [6 empty] | Pipework drops
Pipework at Low Level |  |  |  | Yes / No |  |  |  | Surface mounted. |  | Yes / No
In Wall; Floor; Ceiling Ducts or voids |  |  |  | Yes / No |  |  |  | Behind Dry Liner |  | Yes / No
In Screed |  |  |  | Yes / No |  |  |  | In Builders Work Ducts |  | Yes / No
Joists |  | Notched - Joist Layout Drawings Required. | [7 empty] | Yes / No
|  | Drilled | [7 empty] | Yes / No
|  | T.J.I. Joists | [7 empty] | Yes / No
|  | As Indicated on Drawing | [7 empty] | Yes / No
Codes For Sustainability & System Zoning
|  | Code 3 |  | Code 4 |  |  |  | Code 5 |  | Code 6
Are these dwellings to comply with Part L Oct 2010 of the Building Regulations. | [9 empty] | Yes / No
Are these dwellings to comply with Part L Oct 2013 of the Building Regulations. | [9 empty] | Yes / No
Unless otherwise advised the following zones will apply
|  |  | Areas |  | Zone 1 |  |  | Zone 2 | Zone 3
|  |  | Living / Dining / Study |  | X
|  |  | Kitchens / Utilities |  | X
|  |  | Hall / Landings |  | X
|  |  | Bedrooms |  |  |  |  | X
|  |  | Bathrooms |  |  |  |  | X
|  |  | Other Areas |  | TBA | TBA | TBA |  | TBA

## Dev. Check List - Page 3
Developer Check List
SYSTEM DESIGN CRITERIA
Solar Panel Information
A site plan MUST be included in order to determine the orientation for all properties.
| Solar Panel Pack 1 |  |  | Solar Panel Pack 2
Solar Panel Pack 3
The above kits include relevant number of solar panels, interconnecting fittings, fixing brackets & rails Solar anti-freeze fluid,
Solar controller, automatic air vent, Solar expansion vessel with brackets & hose and the Solar pump station.
OPTIONAL KITS
|  | Ideal Solar Thermstore Cylinder |  | Roof Fixing Kit.
|  | Inset Mounting Kit. |  | Flat Roof Mounting Frame
Special Requirements & Other Information

## Dev. Check List - Page 4
Developer Check List
Installer Information
The above information will be used by the Ideal Stelrad Group only and will not be divulged to any other third parties without the prior written consent of the client.
Installer 1 | Name | ………………………………………………………………………………………….
| Address | ………………………………………………………………………………………….
………………………………………………………………………………………….
………………………………………………………………………………………….
| Phone | ………………………………………………………………………………………….
Installer 2 | Name | ………………………………………………………………………………………….
| Address | ………………………………………………………………………………………….
………………………………………………………………………………………….
………………………………………………………………………………………….
| Phone | ………………………………………………………………………………………….
SPECIAL SYSTEM REQUIREMENTS
TERMS AND CONDITIONS
1. The designs can only be as accurate as the drawings received
2.The designs are not to be altered without written permission
3. Full designs are produced on the basis of solus specification
for boilers and radiators
4. The designs are not "as fitted" designs and additional equipment
will be required to complete the installation
5. Collateral warranties are available on request
6. Diagrammatic DHW will be supplied for Combination Boilers
7. If Radiator Positions Are Not Shown They Will Be Assumed
8. "One Off" Designs Will Only Be Accepted With Prior Agreement